**

**Training Quiz**

1. What is the acceptable specimen type?
2. Rectal swab
3. Stool sample in transport media
4. Unpreserved stool sample
5. What temperature should the Curian HpSA kit be stored at?
6. Room temp (19-27C)
7. Refrigerated (2-8C)
8. Frozen (-20C)
9. Circle the correct way to sample the stool?



1. How long can specimens be stored? (circle all that apply)
2. 3 days refrigerated (2-8C)
3. 3 days room temp (19-27C)
4. 14 days frozen (-20C)
5. You can incubate test cards in a hood and on a bench?
6. True
7. False
8. How many drops are used to process negative control?
9. 3 drops
10. 5 drops
11. 7 drops
12. How many drops are placed directly into the sample port to running positive QC?
13. 2 drops
14. 4 drops
15. 6 drops
16. How long is the incubation time for specimen after it has been added to the test card?
17. 10 minutes
18. 15 minutes
19. 20 minutes
20. How long can a test card be read after incubation?
21. 1 minute
22. 2 minutes
23. 3 minutes
24. You can test for *H. pylori* using Curian HpSA while patient is still taking antimicrobials, proton pump inhibitors, and bismuth preparations.
	1. True
	2. False