**

**Training Quiz**

1. What is the acceptable specimen type?
2. Rectal swab
3. Stool sample in transport media
4. Unpreserved stool sample
5. What temperature should the Curian HpSA kit be stored at?
6. Room temp (19-27C)
7. Refrigerated (2-8C)
8. Frozen (-20C)
9. A close up of a device

   Description automatically generatedCircle the correct way to sample the stool?
10. How long can specimens be stored? (circle all that apply)
11. 3 days refrigerated (2-8C)
12. 3 days room temp (19-27C)
13. 14 days frozen (-20C)
14. You can incubate test cards in a hood and on a bench?
15. True
16. False
17. How many drops are used to process negative control?
18. 3 drops
19. 5 drops
20. 7 drops
21. How many drops are placed directly into the sample port to running positive QC?
22. 2 drops
23. 4 drops
24. 6 drops
25. How long is the incubation time for specimen after it has been added to the test card?
26. 10 minutes
27. 15 minutes
28. 20 minutes
29. How long can a test card be read after incubation?
30. 1 minute
31. 2 minutes
32. 3 minutes
33. You can test for *H. pylori* using Curian HpSA while patient is still taking antimicrobials, proton pump inhibitors, and bismuth preparations.
    1. True
    2. False